## Sheet1
for Luan, Yu
About the suspension material measurement, which material parameter are the main factor on the suspension performance
XMN: base OPL performance - Tear Strength and Resilience
if base the vibration of suspension, which parameter?
answer
material parameter:
for dynamic analyse, we need focus on E, eta
Have you ever compared the modal solution between Polytec and simulation?
MAC, modal assurance criterion
Any update on the receiver modeling?
Have you ever measured the vibration by holography?
I think the SNR is too low
answer from Luan, Yu
feedback = sound + vibration, but mainly is the sound
sound: housing shell vibration makes sound - sound injects into the microphone - make the membrane move
probe mic can measure this sound, and multi with sensitivity then can get the sound contribute to the feedback
vibration: receiver vibrates, pass over, make membrane vibrates (need to be measured in vacuum)
how can Polytec project the laser on the membrane of the microphone
no, we can't make it.
we add a shaker on the microphone and measure the voltage of mic, get the sensitivity of vibration to voltage
multi this sensitivity with vibration when mic is mounted in HI - get the vibration contribute to the feedback
when mic is in HI, what vibration we need is the surface on mic. So we need dig a hole on mic inlet
we can also measure this in the open air (key is to find the voltage of mic)
attach the microphone on the receiver, drive the receiver and measure the vibration(Vib) and voltage of microphone (Vmix)
separate the microphone and reciever, but keep the most close distance between them, measure the voltage of mic (Vsound)
Vvacuum=Vmix-Vsound, so the vibration2voltage sensitivity is Vib/Vvacuum
and finally, we measure the vibration on the microphone surface when it is installed in the HI
also need dig a hole on mic inlet
for Logan
have you ever used the probe mic to measure the sound field near the mic inlet
for Gojgo
how to program HI to TC mode in build0